DDS353C 100A Direct Connected MID Certified kWh Meter

















DDS353C 100A Direct Connected MID Certified kWh Meter

Dimensions:

76mm

+

Wiring Diagram:

# Text boxes

MID B+D Certified

Single Phase 100A Direct connected Rated voltage: 220V/230V

DIN Rail Mounted

Impulse Constant 1000imp/kWh LCD 5+2 = 99999.99kWh Display Self-Supplied

Cost Effective

DDS353C 100A Single Phase kWh Meter

The DDS353C is a new generation modern design kWh meter that will measure and display Active Energy (kWh). It is housed in a compact DIN rail mounted module case and has been MID B+D certified.

Technical Specification

- Voltage:

- Current:

- Accuracy Class:

- Standard:

- Frequency:

- Impulse Constant:

- Display:

- Power Consumption:

- Temperature Range:

- Pulse Width:

- Max Terminal Wire:

230V ± 20%

(5)100A B

EN50470-1 / EN50470-3 50Hz ±10%

Red LED 1000imp/kWh LCD 5+2= 99999.99kW

≤1W

-25⁰C……+55⁰C 52mS

19mm₂

65mm

100mm

45mm

36 mm