MID B+D Certified

Single Phase 45A Direct connected Rated voltage: 220V/230V

DIN Rail Mounted

Impulse Constant 1000imp/kWh LCD 5+2 = 99999.99kWh Display Self-Supplied

Cost Effective

DDS353 45A Direct Connected MID Certified kWh Meter

















DDS353 45A Single Phase kWh Meter

The DDS353 is a new generation modern design kWh meter that will measure and display Active Energy (kWh). It is housed in a compact DIN rail mounted module case and has been MID B+D certified.

Technical Specification

Voltage:

Current:

Accuracy Class:

Standard:

Frequency:

Impulse Constant:

Display:

Power Consumption:

Temperature Range:

Pulse Width:

Max Terminal Wire:

230V ± 20%

(5)45A B

EN50470-1 / EN50470-3 50Hz ±10%

Red LED 1000imp/kWh LCD 5+2= 99999.99kW

≤8VA ≤0.4W

-25⁰C……+55⁰C 80mS

12mm₂

DDS353 45A Direct Connected MID Certified kWh Meter

Dimensions:

Wiring Diagram: